AGENDA

REGULAR MEETING

WATERFORD SCHOOL BUILDING COMMITTEE

WATERFORD, CONNECTICUT

DATE:		Tuesday, January 17, 2012

PLACE:	Conference Room B, Board of Education Offices

TIME:		5:30 p.m.

I. 	Establishment of Quorum and Call to Order

##### II.	Recognition of Visitors/Public Comment

##### III.	Correspondence/Informational Items

##### IV.	Superintendent’s Report

- Invoice submitted for immediate payment authorized by the Superintendent.  This item is listed on the bill list for Waterford High School (Joseph R. Theroux)

##### V.	Old Business

  - Waterford High School cafeteria design and  layout

  - Approval of Minutes:  December 20, 2011.

##### Consent Agenda

##### WATERFORD HIGH SCHOOL CHANGE ORDERS:

Pool & Fieldhouse items

- Ducci Work Order #81460, in the amount of $542.00, to relocate the magnetic door holders in the B Corridor. Required due to Fire Marshall request to reverse the door-swing.

- Ducci Work Order #81461, in the amount of $931.00, to furnish and install a new 100A breaker for RTU-3, for the Fieldhouse.

- Secondino/Hussey Proposal dated 1/3/2012, in the amount of $3,727.00, to supply and install 4 safety belts for the fold-up basketball backstops for safety measures.

- HHS Mechanical proposal dated 12/23/2011, in the amount of $2,263.04, for the replacement of armorflex pipe insulation on the roof that was damaged by seagulls and add 110 LF of PVC jacket to protect against future damage, per RFI#319.

New Building Addition Items:

- ASI #7 changing the fitness room windows from IG-3 (insulated spandrel glass) to IG-1 (clear insulated glass), in the credited amount of ($546.00).  RFI #345 confirming locations of IG-2 Blue Glass (which added an additional curtain wall and all doors in IG-2 curtain walls) in the amount of $547.00.  Advanced Performance Glass would like to let these 2 items cancel each other out.

- JCJ Proposal Request #26, issued on 11/22/2011, for revisions to the Media Center and Main Office Suite Fire Protection, Plumbing/HVAC, and Electrical design.

a.	Ducci PCO #50 & 48 in the amount of $4,544.00 reduced to $1,196 after lengthy electrical lighting and power scope revisions per JCJ PR25 (15 Architectural SK’s), CES Bulletin 3 (JCJ PR 7w/ 1 Electrical SK), CES Bulletin 8 ( JCJ ASI 12 w/ 2 Electrical SK’s & 1 Architectural hand SK), & JCJ PR26 (6 Electrical SK’s).

b.	HHS Proposal dated 12/17/2011 in the amount of $24,309.52 for revisions per JCJ PR 26 (2 plumbing SK’s, 6 Mechanical SK’s, 2 Fire Protection SK’s) includes:

•	By moving the wall of the main office reception area in order to create a new Admin Assistant rm, it became necessary to swap two chilled beams between the main reception area and the new Admin Assistant rm that was created. This added 10 feet of new 13X9 lined ductwork and the removal of installed 11X9 ductwork.

•	By changing the media center office to a larger work room, a new chilled beam and VAV box and associated 11X9 lined & 10X8 ductwork and HWS&R piping and insulation and a new zone automated controls had to be added to this space. Also the removal of previously installed 10X6 ductwork is now needed.

•	By combining the storage room and adjacent conference room, it was necessary to add a third chilled beam with associated 6”round ductwork and associated HWR&S piping and insulation to the new larger conference room.

Total change amount for items 11 a & b: $25,505.52

- HHS Proposal dated 12/23/2011, in the amount of $10,295.42, to remove the installed 2” chilled water pipe and install a new 3”pipe from the Mechanical room running north and south on the first floor as directed by RFI#338. This proposal includes a 50% labor and material credit for the 2” pipe that can be used elsewhere in the building.

Field Items:

- A. Secondino Proposal dated 12/19/2011 in the amount of $5,130.00 for a Concession Stand Casework Material Substitution, changing casework to a polymer material to better withstand the extreme hot and cold that will be encountered in the Concession Stand.

- Baseball Field Dimension Revisions and Fence change: CJ Fucci Proposal dated 7/12/11 in the amount of $35,725.00. Price includes ($7.521.00) credit for deleted 6’ high fence. Another Price was obtain from Eagle Fence for supply and install of a similar 10’ High fence in the amount of $42,500.00

- ASI 9: Revised chain Link Fence around football filed and track, Fucci CO#30 at no additional cost and no credit – bid out all 6 ft fences, need to order new 4 ft mesh but can reuse other materials and installation is slightly faster than a 6 ft fence.

##### VII.	WATERFORD HIGH SCHOOL

##### Architect’s Report Waterford High School: Jeter, Cook & Jepson

##### Construction Manager’s Report Waterford High School: O&G

- Discussion and possible action on JCJ PR 8 regarding changes to vestibule D101 corridor D112 ceiling & HVAC.

##### VIII.	New Business

##### IX.	Bill List—See Attached

##### X.	Adjournment

##### IX.	Bill List January 17, 2012

| Project #152- | School | Stage | Vendor | Description | Invoice# | Amount |
| --- | --- | --- | --- | --- | --- | --- |
| n/a | OSW | n/a | Robert H. Lord | Furnishings | 27404A | $5,378.00 |
| n/a | OSW | n/a | Miller Industries | Chain link fence closers | 046518 | $4,000.00 |
| n/a | WHS | n/a | Allied Restoration | Roofing | 00004 | $79,705.00 |
| n/a | WHS | n/a | O&G | CM services | 00012 | $120,290.00 |
| n/a | WHS | n/a | A Secondino & Son | General trades | 00006 | $160,643.34 |
| n/a | WHS | n/a | Conn Acoustics, Inc. | Drywall & Acoustical | 00007 | $286,720.83 |
| n/a | WHS | n/a | HHS Mechanical | Fire Protection, Plumbing | 00010 | $496,537.67 |
| n/a | WHS | n/a | Shepard Steel & Co. | Structural metal framing | 00010 | $94,014.38 |
| n/a | WHS | n/a | Ducci Electrical | Electrical | 00008 | $188,321.42 |
| n/a | WHS | n/a | Joe Capasso Mason | Masonry | 00006 | $684,003.90 |
| n/a | WHS | n/a | Manafort Brothers | Concrete | 00007 | $5,821.52 |
| n/a | WHS | n/a | Professional Painting | Painting | 00006 | $1,932.30 |
| n/a | WHS | n/a | CJ Fucci | Sitework | 00011 | $141,701.81 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-408869 | $1,859.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-408562 | $286.00 |
| n/a | WHS | n/a | A Royal Flush | Portable toilets | C-409583 | $249.00 |
| n/a | WHS | n/a | Sign A Rama | Signage | 14570 | $195.00 |
| n/a | WHS | n/a | Cynthia M. Kaplan | Professional services | 122011.96 | $640.00 |
| n/a | WHS | n/a | JCJ | Professional services | 0000039 | $18,739.57 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1390480 | $70.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1389461 | $75.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R13933399 | $150.00 |
| n/a | WHS | n/a | Eagle Leasing | Storage | R1394413 | $70.00 |
| n/a | WHS | n/a | Special Testing Labs | Testing | 26097 | $1,800.00 |
| n/a | WHS | n/a | Joseph R. Theroux | Conservation Commission | 12/27/2011 | $1,062.50 |
| n/a | WHS | n/a | Sign A Rama | Signage | 14308 | $125.95 |